## Slide 1: Master thesis FOLLOW-up MEETING
Uncovering the economic tipping point between -based GTs and CCS-enhanced GTs
Jean Bériot Jean.BERIOT@student.umons.ac.be

## Slide 2: Overview
Reminder from last meeting
What has been achieved
What is ongoing
What are the next steps

## Slide 3: Overview
Reminder from last meeting
What has been achieved
What is ongoing
What are the next steps

## Slide 4: Reminder Main objectives
Technical comparison of the technologies
  Determination of the efficiencies
  Evaluation of the components required
Economical comparison of the technologies
  Determination of CAPEX, OPEX and LCOE
  Multiple cases analysis (Electricity production mix, grid profile)
  Sensitivity analysis

## Slide 5: Overview
Reminder from last meeting
What has been achieved
What is ongoing
What are the next steps

## Slide 6: CCGT Model
Based the CCGT+CCU model on a previous study made on Thermoflow using a GE9HA …
… and modeled the CCGT part in Aspen

## Slide 7: CCGT Model
Based the CCGT+CCU model on a previous study made on Thermoflow using a GE9HA …
… and modeled the CCGT part in Aspen

## Slide 8: Main results
OCGT efficiency = 42,2%
  Concording with previous study
CCGT efficiency = 58,6%
  Including thermal integration of CCU reboiler
  Excluding mechanical work induced by CCU (Additional 6% drop in efficiency estimated by (1))
(1) https://www.sciencedirect.com/science/article/pii/S0306261916308625

## Slide 9: Additional finding
Part load efficiency variation of CCGT power plants follows a mathematical tendance (2)
(2) https://www.sciencedirect.com/science/article/pii/S0196890402000183

## Slide 10: Overview
Reminder from last meeting
What is achieved
What is ongoing
What are the next steps

## Slide 11: Including CCU model in Aspen
CCGT efficiency impact
Amine flow rates and types to reach 90% - 95% CC efficiency
Columns configuration

## Slide 12: Overview
Reminder from last meeting
What is achieved
What is ongoing
What are the next steps

## Slide 13: Work on economical model
Compute CAPEX and OPEX using Aspen Economics and crossvalidate with studies
Get electricity prices data from EpexSpot or ENTSO
Compute the LCOE of CCGT+CCU electricity

## Slide 14: Master thesis FOLLOW-up MEETING
Uncovering the economic tipping point between -based GTs and CCS-enhanced GTs
Jean Bériot Jean.BERIOT@student.umons.ac.be