## Slide 1: Master thesis FOLLOW-up MEETING
Uncovering the economic tipping point between -based GTs and CCS-enhanced GTs
Jean Bériot Jean.BERIOT@student.umons.ac.be

## Slide 2: End of last presentation’s summary
Integrate an alternative to the Merit Order computation
Integrate Transport and Storage Costs in the CCS model
Perform a sensitivity analysis on critical parameters
Make the online tool accessible

## Slide 3: CCS-enhanced Gas Turbines

## Slide 4: CAPEX computation
Simplified Model based on similar study
CCGT CAPEX = 420 M€
CCS 96% CAPEX = 657 M€
CCS 100% CAPEX = 699 M€
FOM = 3,5% of total CAPEX
VOM = , MEA, ETS, Water
Water consumption = 0,76 L/kWh (using Thermoflow)
https://www.sciencedirect.com/science/article/pii/S2352484724002713#eqn0040

## Slide 5: OPEX computation
Price DATA
: 4,5 Ct/kWh (Country dependant, Source: Eurostat)
MEA: 1,2 €/kg (Source: businessanalytiq)
ETS: 85 €/ (Source: sandbag)
Make-Up Water: 3,15 €/m³ (Source: SWDE)
Cooling Water: 12 Ct/m³
Transport and storage costs: 20 €/

## Slide 6: LCOE computation
Results
No Capture

## Slide 7: LCOE computation
Results
96% Capture
LCOE ≠ ROI

## Slide 8
Flexibility of computation

## Slide 9: Sensitivity Analysis

## Slide 10: Sensitivity Analysis

## Slide 11: -based Gas Turbines

## Slide 12: Turbine considered
LM6000PC
100% Capable
CCGT efficiency = 51,9%
1st plant 100% Capable running in 2026

## Slide 13: About Gas turbine
Assumptions
price: country AND type dependant (Source: https://observatory.clean-hydrogen.europa.eu/index.php/hydrogen-landscape/production-trade-and-cost/cost-hydrogen-production)
  SMR with CCS: 3,62 €/kg
  Green : 8,08 €/kg
25% CAPEX increase for retrofit of CCGT (Source: https://www.sciencedirect.com/science/article/pii/S0360319921039768)

## Slide 14: About Gas turbine
Results

## Slide 15: Graphical comparison
Base case (SMR+CCS )

## Slide 16: Graphical comparison
Reduced price (from 3,62 €/kg to 1,8 €/kg)  50% cutdown

## Slide 17: Sensitivity Analysis

## Slide 18: Sensitivity Analysis

## Slide 19: Ongoing and future tasks
Take the CRM revenues into account
Integrate part load computation in the model
  Start-ups, ramping down,…
  Integrate flexibility revenues with aFRR or mFRR

## Slide 20: Feel free to try it!